| Pump Systems |  |
| --- | --- |
| Opportunity #1: Shut off pumps when not needed | MEASUR General Electricity Reduction |
| Motor current: (Amps) Motor voltage: (Volt) Operation hours before assessment: (#) Operation hours after assessment: (#) |  |
| Opportunity #2: Using VFD to modulate pump speed to control flow, instead of control valves | MEASUR Pump Valve Energy Loss |
| Process fluid flow rate: (GPM) Pressure drop across control valve (100% pump speed): (psi) Pressure drop across control valve (lower pump speed): (psi) |  |
| Fan Systems |  |
| Opportunity #1: Shut off fans when not needed | MEASUR General Electricity Reduction |
| Motor current: (Amps) Motor voltage: (Volt) Operation hours before assessment: (#) Operation hours after assessment: (#) |  |
| Opportunity #2: Using VFD to modulate fan speed to control flow, instead of outlet control dampers | MEASUR Calculator Coming Soon! |
| Air flow rate: (CFM); Full Load Motor Speed: _____(RPM) Reduced Motor Speed with VFD: _____(RPM) Discharge Static Pressure with damper (100% speed): (in. w.g.) Discharge Static Pressure with reduced speed (100% damper open): (in. w.g.). |  |
| Opportunity #3: Using notched V-Belt vs. smooth V-Belt | MEASUR Motors Motor Drive Comparison |
| Motor power: (kW) |  |
| Lighting Systems |  |
| Opportunity #1: Turn off unnecessary light fixtures | MEASUR General Electricity Reduction |
| Power per light fixture: (W) Operation hours of light fixtures: (#) No. of the light fixture to be turned off: (#) |  |
| Opportunity #2: Replace inefficient light fixtures with more efficient LED fixtures | MEASUR Lighting Lighting Replacement |
| Power per existing light fixture: (W) Operation hours of light fixtures: (#) No. of the light fixture to be turned off: (#) Power per new light fixture: (W) |  |
| Process Heating Systems |  |
| Opportunity #1: Optimize air-to-fuel ratio | MEASUR Process Heating Flue Gas Loss |
| Flue gas temperature: (F) O₂ concentration in flue gas: (%). |  |
| Opportunity #2: Improve insulation level on the furnace to reduce wall loss | MEASUR Process Heating Wall Loss |
| Surface temperature with less insulation: (F) Surface temperature with more insulation: (F) |  |
| Opportunity #3: Waste heat recovery | MEASUR Process Heating Flue Gas Loss |
| Flue gas temperature w/o heat recovery systems: (F) Flue gas temperature w/ heat recovery systems: (F) |  |
| Compressed Air Systems |  |
| Opportunity #1: Check the velocity in your piping | MEASUR Compressed Air Velocity in the Piping |
| Are you meeting the recommended heuristics? What happens if you have incorrect pipe sizing? ~20 fps in the compressed air room ~30 fps in the plant header ~50fps in the final drop to an end use |  |
| Opportunity #2: Reduce inappropriate usage | MEASUR Compressed Air Compressed Air Reduction |
| Flow rate (assume 100% flow aka the nameplate): (CFM) |  |
| Opportunity #3: Compressed air leaks quantification using bag method | MEASUR Compressed air Leak Loss Estimator - Bag Method |
| Bag fill time: (sec) Bag volume: (gal) |  |

Notes: